## Unit Test
Unit Test
Scenario 1 |  |  | Scenario 2 |  |  | Scenario 3
t | 135 |  | t | 77 |  | t | 39
original demand | 157.098 | kW | original demand | 81.3566 | kW | original demand | 155.977 | kW
Generation | 3.6366 | kW | Generation | 517.406 | kW | Generation | 1.458 | kW
SoC | 6.803 | % | SoC | 51.242 | % | SoC | 9.9676 | %
Total Curtailment | 153.461 | kW | Total Curtailment | 0 | kW | Total Curtailment | 0 | kW
Power Export | 0 | kW | Power Export | 300 | kW | Power Export | 0 | kW
Power Import | 0 | kW | Power Import | 0 | kW | Power Import | 154.519 | kW
Discharge Power | 0 | kW | Charge Power | 114.247 | kW | Discharge Power | 0 | kW
Total Real Demand | 3.637 | kW | Total Real Demand | 495.6036 | kW | Total Real Demand | 155.977 | kW
Total Supply | 3.6366 | kW | Total Supply | 517.406 | kW | Total Supply | 155.977 | kW
Losses | -0.0004 | kW |  |  |  | Losses | 1e-05 | kW
Loss Percentage | -0.011% |  | Losses | 21.8024 | kW | Loss Percentage | 0.0006859%
|  |  | Loss Percentage | 4.214%
SoC test, delta_t = 0.5 | hours
t | 132
Discharge Power | 46.92 | kW
SoC | 12.74 | %
Energy taken | 23.46 | kWh
t | 133
SoC | 10.97 | %
SoC change | 1.77 | %
BESS Size | 1320 | kWh
Calculated change in SoC | 1.777%

## Multi Simulation Stitching
Irradiance Data 3 different Weeks
Parameter same as unit test
Week 1
Total Unserved Energy Cost | 8560.2366
Total Trade Export Revenue | 7647.44
Total Trade Import Cost | 757.418
Week 2
Total Unserved Energy Cost | 8897.1453
Total Trade Export Revenue | 5739.93
Total Trade Import Cost | 787.038
Week 3
Total Unserved Energy Cost | 16407.4137
Total Trade Export Revenue | 6455.26
Total Trade Import Cost | 813.01

## Sensitivity Check
Parameter same as unit test
Buy Price | 9000000000 | Buy Price | 0.5
VoLL | 1 | Battery Ratio | 1.5
Total Unserved Energy Cost | 467.8535 | Total Unserved Energy Cost | 8585.148
Lowest Peak SoC | 21.24 | Total Trade Export Revenue | 7530.93
|  | Total Trade Import Cost | 900.32
VoLL | 1.05
Total Unserved Energy Cost | 491.25 | Battery Ratio | 1.8
Lowest Peak SoC | 21.24 | Total Unserved Energy Cost | 8209.0651
|  | Total Trade Export Revenue | 7554.93
VoLL | 1.1 | Total Trade Import Cost | 856.026
Total Unserved Energy Cost | 0
Lowest Peak SoC | 7.8 | Battery Ratio | 1.9
|  | Total Unserved Energy Cost | 8146.7733
VoLL | 1.2 | Total Trade Export Revenue | 7608
Total Unserved Energy Cost | 0 | Total Trade Import Cost | 910.77
Lowest Peak SoC | 7.8
|  | Battery Ratio | 2
VoLL | 1.5 | Total Unserved Energy Cost | 8350.2173
Total Unserved Energy Cost | 0 | Total Trade Export Revenue | 7633.08
Lowest Peak SoC | 7.8 | Total Trade Import Cost | 941.095
|  | Battery Ratio | 2.05
|  | Total Unserved Energy Cost | 8450.24
|  | Total Trade Export Revenue | 7642.95
|  | Total Trade Import Cost | 941.29
|  | Battery Ratio | 2.1
|  | Total Unserved Energy Cost | 8518.3377
|  | Total Trade Export Revenue | 7659.99
|  | Total Trade Import Cost | 990.83
|  | Battery Ratio | 2.5
|  | Total Unserved Energy Cost | 9155.88
|  | Total Trade Export Revenue | 7800
|  | Total Trade Import Cost | 1245.19